## drainage
COMMERCIAL SANITARY LOAD CHART
NOTE | TAG | OUTLET PIPE SIZE | AMOUNT | LOAD EACH | TOTAL
EXISTING | LAV-1 | 2" | 1 | 1.5 | 1.5
EXISTING | WC-1 | 3" | 1 | 4 | 4
NEW | HS-1 | 1-1/2" | 2 | 1.5 | 3
NEW | DS-1 | 1-1/2" | 1 | 1.5 | 1.5
NEW | MS-1 | 1-1/2" | 1 | 1.5 | 1.5
TOTAL |  |  |  |  | 11.5

## water system
COMMERCIAL PLUMBING FIXTURE CALCULATION TABLE
NOTE | TAG | SUPPLY PIPE SIZE | AMOUNT | EACH FIXURE |  |  | TOTAL FIXTURE LOAD
|  |  |  | COLD | HOT | COMBINED | COLD | HOT | COMBINED
EXISTING | LAV-1 | 1/2" | 1 | 1.5 | 1.5 | 2 | 1.5 | 1.5 | 2
EXISTING | WC-1 | 1/2" | 1 | 2.2 | 0 | 2.2 | 2.2 | 0 | 2.2
NEW | HS-1 | 1/2" | 2 | 1.5 | 1.5 | 2 | 3 | 3 | 4
NEW | DS-1 | 1/2" | 1 | 2.25 | 2.25 | 3 | 2.25 | 2.25 | 3
NEW | MS-1 | 1/2" | 1 | 2.25 | 2.25 | 3 | 2.25 | 2.25 | 3
TOTAL | [6 empty] | 11.2 | 9 | 14.2